
	Public Water System ID Number
	Public Water System Name

	AZ04-14065
	Green Acres Water Company

	Contact Name and Title
	Phone Number
	E-mail Address

	Dawn Simpson
	(928) 341-9685
	dawn@sunstatees.com

	We want our valued customers to be informed about their water quality.  If you would like to learn more about public participation or to attend any of our regularly scheduled meetings, please contact Dawn Simpson                                                       at (928) 341-9685 for additional opportunity and meeting dates and times.


Drinking Water Sources
	The sources of drinking water (both tap and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals, and in some cases, radioactive material, and can pickup substances resulting from the presence of animals or from human activity.
In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems. Food and Drug Administration (FDA) regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

	Our water source(s):
	We obtain our water from one groundwater well located in the Yuma Basin of the Colorado River Watershed.


Drinking Water Contaminants
	Microbial Contaminants: Such as viruses and bacteria that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife
Inorganic Contaminants: Such as salts and metals that can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming

Pesticides and Herbicides: Such as agriculture, urban storm water runoff, and residential uses that may come from a variety of sources
	Organic Chemical Contaminants: Such as synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and also may come from gas stations, urban storm water runoff, and septic systems.

Radioactive Contaminants: That can be naturally occurring or be the result of oil and gas production and mining activities.



Vulnerable Population
	Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk.  Some people may be more vulnerable to contaminants in drinking water than the general population.  
Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV-AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections.  These people should seek advice about drinking water from their health care providers.  
For more information about contaminants and potential health effects, or to receive a copy of the U.S. Environmental Protection Agency (EPA) and the U.S. Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and microbiological contaminants call the EPA Safe Drinking Water Hotline at 1-800-426-4791.


Source Water Assessment
	Based on the information currently available on the hydrogeologic settings of and the adjacent land uses that are in the specified proximity of the drinking water source(s) of this public water system, the department has given a low risk designation for the degree to which this public water system drinking water source(s) are protected. A low risk designation indicates that most source water protection measures are either already implemented, or the hydrogeology is such that the source water protection measures will have little impact on protection. Further source water assessment documentation can be obtained by contacting ADEQ.


Definitions 
	Treatment Technique (TT): A required process intended to reduce the level of a contaminant in drinking water

Level 1 Assessment: A study of the water system to identify potential problems and determine (if possible) why total coliform bacteria was present
Level 2 Assessment: A very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria was present
Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment, or other requirements

Maximum Contaminant Level (MCL): The highest level of a contaminant that is allowed in drinking water

Maximum Contaminant Level Goal MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health

Maximum Residual Disinfectant Level (MRDL): The level of disinfectant added for water treatment that may not be exceeded at the consumer’s tap
Maximum Residual Disinfectant Level Goal (MRDLG): The level of disinfectant added for treatment at which no known or anticipated adverse effect on health of persons would occur
	Minimum Reporting Limit (MRL): The smallest measured concentration of a substance that can be reliably measured by a given analytical method

Millirems per year (MREM): A measure of radiation absorbed by the body
Not Applicable (NA): Sampling was not completed by regulation or was not required
Not Detected (ND or <): Not detectable at reporting limit
Nephelometric Turbidity Units (NTU): A measure of water clarity
Million fibers per liter (MFL)

Picocuries per liter (pCi/L): Measure of the radioactivity in water
ppm: Parts per million or Milligrams per liter (mg/L)

ppb: Parts per billion or Micrograms per liter (µg/L)    

ppt: Parts per trillion or Nanograms per liter (ng/L) 

ppq: Parts per quadrillion or Picograms per liter (pg/L)
ppm x 1000 = ppb

ppb  x 1000 = ppt

ppt   x 1000 = ppq




Lead Informational Statement:
	Lead, in drinking water, is primarily from materials and components associated with service lines and home plumbing. If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Green Acres Water Company is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at www.epa.gov/safewater/lead.


Violation Summary (for MCL, MRDL, AL, TT, or Monitoring & Reporting Requirement) 
	Violation Type 
	Explanation, Health Effects 
	Time Period
	Corrective Actions 

	Reporting
	Submitted 2020 Consumer Confidence Report after the deadline.
	2020
	The report was submitted to ADEQ on 8/16/2021.

	Reporting
	Submitted monthly bacteria results after the deadline.
	Feb 2020
	The results were submitted to ADEQ on 4/13/2021.

	Reporting
	Submitted lead consumer report after the deadline.
	Jun 2020
	Report was submitted to residents after testing in Sept 2021.

	Please share this information with other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail. 


Water Quality Data – Regulated Contaminants 
	Microbiological (RTCR)

	TT

Violation

Y or N
	Number of Positive Samples 
	Positive

Sample(s) Month & Year
	MCL
	MCLG
	Likely Source of Contamination

	E. Coli
	N
	0
	NA
	0
	0
	Human and animal fecal waste

	Fecal Indicator         

   (coliphage, enterococci and/or E. coli)          
	N
	0
	NA
	0
	0
	Human and animal fecal waste

	Lead & Copper
	MCL

Violation

Y or N
	90th Percentile
	Number of Samples Exceeds AL
	AL
	ALG
	Sample Month & Year
	Likely Source of Contamination

	Copper (ppm)
	N
	0.36
	0
	1.3
	1.3
	9/2021
	Corrosion of household plumbing systems; erosion of natural deposits

	Lead (ppb)
	N
	0.01
	1
	15
	0
	9/2021
	Corrosion of household plumbing systems; erosion of natural deposits

	Radionuclides
	MCL Violation

Y or N
	Running Annual Average (RAA) OR Highest Level Detected
	Range of All Samples

(Low-High)
	MCL
	MCLG
	Sample Month & Year
	Likely Source of Contamination

	Combined Radium-226 & -228 (pCi/L)
	N
	1.5
	NA
	5
	0
	2/2017
	Erosion of natural deposits

	Inorganic Chemicals 
(IOC)
	MCL

Violation

Y or N
	Running Annual Average (RAA) OR Highest Level Detected
	Range of All Samples 

(Low-High)
	MCL
	MCLG
	Sample Month & Year
	Likely Source of Contamination

	Barium (ppm)
	N
	0.035
	NA
	2
	2
	2/2020
	Discharge of drilling wastes; discharge from metal refineries; Erosion of natural deposits

	Fluoride (ppm)
	N
	0.48
	NA
	4
	4
	2/2020
	Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories

	Nitrate1 (ppm)
	N
	0.10
	NA
	10
	10
	1/2021
	Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits

	Sodium (ppm)
	N
	410
	NA
	N/A
	N/A
	2/2020
	Erosion of natural deposits

	1 Nitrate in drinking water at levels above 10 ppm is a health risk for infants of less than six months of age. High nitrate levels in drinking water can cause “blue baby syndrome.” Nitrate levels may rise quickly for short periods of time because of rainfall or agricultural activity. If you are caring for an infant, and detected nitrate levels are above 5 ppm, you should ask advice from your health care provider. 


All contaminants listed below were tested for and were NOT found in our water. These contaminants are considered Non-Detect or not present:

Radionuclides (Last tested 11/2017): Gross alpha
Inorganic Contaminants (Last tested 2/2020): Antimony, Arsenic (tested 1/2021), Beryllium, Cadmium, Chromium, Cyanide, Mercury, Nickel, Selenium, Thallium

Synthetic Organic Compounds (Last tested 2/2020): 2,4-D, 2,4,5-TP (a.k.a. Silvex), Acrylamide, Alachlor, Atrazine, Benzo (a) pyrene (PAH), Carbofuran, Chlordane, Dalapon, Di (2-ethylhexyl) adipate, Di (2-ethylhexyl) phthalate, Dibromochloropropane, Dinoseb, Diquat, Dioxin [a.k.a. 2,3,7,8-TCDD], Endothall, Endrin, Epichlorohydrin, Ethylene dibromide, Glyphosate, Heptachlor, Heptachlor epoxide, Hexachlorobenzene, Hexachlorocyclo pentadiene, Lindane, Methoxychlor, Oxamyl (a.k.a. Vydate), PCBs [Polychlorinated biphenyls], Pentachlorophenol, Picloram, Simazine, Toxaphene 

Volatile Organic Compounds (Last tested 6/2021): Benzene, Carbon tetrachloride, Chlorobenzene, o-Dichlorobenzene, p‑Dichlorobenzene, 1,2-Dichloroethane, 1,1-Dichloroethylene, cis-1,2-Dichloroethylene, trans-1,2-Dichloroethylene, Dichloromethane, 1,2-Dichloropropane, Ethylbenzene, Styrene, Tetrachloroethylene, 1,2,4-Trichlorobenzene, 1,1,1-Trichloroethane, 1,1,2-Trichloroethane, Trichloroethylene, Toluene, Vinyl Chloride, Xylenes 
Consumer Confidence Report for Calendar Year 2021


Este informe contiene informactión muy importante sobre el aqua usted bebe.  �Tradúscalo ó hable con alguien que lo entienda bien.

















PAGE  
Green Acres Water Company

Consumer Confidence Report – 2021
      

         Page 8 of 8

